| # Memo | Ohio River Valley Water Sanitation Commission 5735 Kellogg Avenue Cincinnati, Ohio 45228 Telephone: (513) 231-7719 Fax: (513) 231-7761 |
| --- | --- |

DATE:	November 6, 2012

### TO:	Technical Committee

Toby Frevert, Chairman	Allen J. Newman, VA	Eriks Janelsins, PIACO

Marcia Willhite	, IL		   Patrick Campbell, WV	      MaryLynn Lodor, POTW

Thomas Easterly, IN	Deborah Lee, USCOE	Jack Wang, WUAC

Randy Payne, KY	William R. Guertal, USGS	Rob Reash, PIAC

Gerard Palumbo, NY	John Armstead, U.S. EPA

George Elmaraghy, OH	Peter Tennant

### Ronald Schwartz, PA

FROM:	Stacey Cochran

SUBJECT:	Quality Update –October 2012 Conditions

## Flows

Average flows at seven Ohio River locations are displayed below.  At each location the October 2012 average flow (black bar) is contrasted with the long-term average monthly flow (gray bar). October average flows are well below the long-term average monthly flow.

## Bacteria

The bacteria monitoring results from six Ohio River locations in October 2011 are in the attached graphs. Beginning with the 2011 Contact Recreation season (May through October), there are thirteen sites being sampled.  ORSANCO’s water quality criteria for the protection of human health during the contact recreation season are:

        Fecal coliform count is not to exceed 400 CFU/100mL in more than 10% of the                samples taken. (Fecal coliform is shown with a blue line on the graph.)

         Fecal coliform monthly geometric mean of at least five samples is not to exceed                200 CFU/100 mL.

         E. coli count is not to exceed 240 CFU/100mL in any single sample. (E.coli is                   shown with a red line on the graph.)

         E. coli geometric mean of at least five samples is not to exceed 130 CFU/100mL.

#### All Sites

The site from each location with the highest monthly geometric mean for fecal coliform and E.coli are plotted in the first graph of the attached bacteria monitoring results.

#### Pittsburgh

In Pittsburgh, ORM 1.4M had two individual exceedances for fecal coliform and one individual exceedance for E.coli. ORM 4.3 had two individual exceedances for both fecal coliform and E.coli. The monthly geometric mean was not calculated because only 4 samples were taken due to Sandy.

#### Wheeling

In Wheeling, ORM 86.8 and ORM 92.8 had one individual exceedance for both fecal coliform and E.coli.   The monthly geometric mean for both fecal coliform and E.coli was not exceeded at any sample site.

#### Huntington

In Huntington, ORM 305.1 had no exceedances. ORM 314.8 had two individual exceedances for fecal coliform and one individual exceedance for E.coli. The monthly geometric mean for both fecal coliform and E.coli was not exceeded at any sample site.

#### Cincinnati

In Cincinnati, ORM 462.6 had no individual exceedances. ORM 470.0 and ORM 477.5 had one individual exceedance for fecal coliform and two individual exceedances for E.coli. The monthly geometric mean for both fecal coliform and E.coli was not exceeded at any sample site.

#### Louisville

In Louisville, ORM 594.0 had no exceedances. ORM 619.3 had one had one individual exceedance for both fecal coliform and E.coli. The monthly geometric mean for both fecal coliform and E.coli was not exceeded at any sample site.

#### Evansville

In Evansville, ORM 791.5 had no exceedances. ORM 793.7 had one individual exceedance for fecal coliform. The monthly geometric mean for both fecal coliform and E.coli was not exceeded at any sample site.

Dissolved Oxygen

A summary of the dissolved oxygen and temperature readings collected in September 2012 are displayed in the attached tables.  During the months of May through October, ORSANCO interrogates nine stations for dissolved oxygen (D.O.) and temperature data once per day, Monday through Friday, for the previous 24-hour period.  This data is compiled in-house to produce a report showing the minimum, maximum and average of the acquired D.O. and temperature readings. ORSANCO’s water quality criteria for the protection of warm water aquatic life habitat are:

- The minimum D.O. concentration shall not be less than 4.0 mg/L at any time.

- Average D.O. concentration shall be at least 5.0 mg/L for each calendar day.

- During the April 15 – June 15 spawning season, a minimum D.O. concentration of 5.0 mg/L shall be maintained at all times.

- The temperature period average for October 1-15 is 77°F and the maximum is 82°F.

- The temperature period average for October 16-31 is 72°F and the maximum is 77°F.

Kyger Creek had D.O. exccedances in the beginning of the month and there were no temperature violations during the month of October.