## Slide 1: Source Water Protection Update
Technical Committee
October 2-3, 2018
Informational Item

## Slide 2: Presentation Overview
ODS Renovation Update
Contaminant Source Inventory Pilot Project

## Slide 3: ODS Next Gen Work Group
Work Group Members
  Rengao Song (Louisville Water Company)
  Sandy Johnson (WV American – Huntington)
  Jennifer Heymann (American Water)
  Rich Stuck (Greater Cincinnati Water Works)
  Mary Carol Wagner (Northern Kentucky Water District)
  John Hall (US EPA)
  Steve Allgeier (US EPA)
  Lila Ziolkowski (ORSANCO)
Work Group Charge –
  Evaluate potential contaminants of concern.
  Evaluate available technologies to detect contaminants
  Identify at least 3 monitoring designs
  Recommend preferred option WUAC

## Slide 4: Activity Since Last Meeting
Online Survey –
  Conducted online survey of water utilities to define the system needs
Follow-up online survey –
  Conducted follow-up survey
Volatile Organic Compound Analyte List
  Evaluated list of VOCs for possible inclusion
System Configuration Options –
  Developed preliminary list of system design options
Scoring Matrix –
  Initiated effort to develop matrix to score sites for GC/MS placement

## Slide 5: Online Surveys
Initial Survey –
  Sent to all water utilities on the Ohio River and lower tributary reaches
  27 utility responses
  Area for ODS enhancement?
    Broaden analytical capabilities (61%)
Follow-up Survey
  Additional clarification of responses
  10 questions
  18 of 27 utilities responded

## Slide 6: Q4: If ORSANCO were able to expand it's raw (surface) water chemical monitoring program, what contaminant/pollutants would you like ORSANCO to screen/test for?
Notes: This shows the distribution of the 17 responses for contaminant monitoring priority preferences. SVOC’s Petroleum Hydrocarbons ranked first, followed by SV Pesticides, HAB indicators and MIB/Geosmin. This data takes into account

## Slide 7: Q8: If ORSANCO's ODS program were to host a webpage containing Ohio River/tributary raw (surface) water quality data, how likely would you be to use the webpage?
Notes: A question gauged at assessing whether investing time and effort into a webpage would be beneficial to our utilities. Over ¾ of respondents would likely access a webpage.

## Slide 8: VOC Analyte List
Calibrated analyte list – 30 VOCs
ORSANCO ODS hybrid method
  Method 8260b (surface water, groundwater)
  Method 624 (wastewater)
  Method 524.2/ 524.3 (finished water)
Could add additional VOC analytes
  Minimal cost/time implications
Next step –
  Staff will develop prioritized list of analytes for consideration

## Slide 9
ODS System Configuration Scenarios |  |  |  |  |  |  | 
 |  |  |  | Annualized Cost |  |  | 
# | Description | Instrumentation | Total Capital | Maintenance Labor Hours | Capital Cost* | Maintenance Cost** | Total Annual Cost
1 | Current system + SVOC at 2 sites | 9 GC/MS 3 GC/FID 4 CMS 2 GC/FID (SVOC) | $2,384,000 | 464 | $238,400 | $232,300 | $470,700
2 | Current system | 9 GC/MS 3 GC/FID 4 CMS | $2,064,000 | 408 | $206,400 | $200,300 | $406,700
3 | Replace 4 GC/MS with GC/FID | 5 GC/MS 7 GC/FID 4 CMS | $1,920,000 | 344 | $192,000 | $173,000 | $365,000
4 | Replace all GC/MS with GC/FID | 0 GC/MS 12 GC/FID 4 CMS | $1,740,000 | 264 | $174,000 | $139,000 | $313,000
5 | All CMS units | 0 GC/MS 0 GC/FID 16 CMS | $912,000 | 480 | $91,200 | $114,800 | $206,000
* Annualized capital cost assumes 10-year replacement schedule. |  |  |  |  |  |  | 
** Annualized maintenance cost excludes staff labor and travel expenses. |  |  |  |  |  |  | 

## Slide 10: Scoring Matrix
Develop matrix to score ODS sites for possible GC/MS placement
Two types of scoring factors
Facility performance metrics
  System utilization, ODS lab hours, Capacity to provide additional services during spill events
Potential contaminant risk
  Spill frequency, Proximity to potential contaminant sources
Next Step
  Staff will draft preliminary scoring matrix

## Slide 11: Contaminant Source Inventory Pilot Project
Initial Study Area – Maysville, KY to Cincinnati, OH
Project Funding - $130,000
  US EPA, GCWW, NKWD
Implement WaterSuite’s Source Water Protection module to assess & manage source water quality risks
  Cloud-based GIS platform
  Pulls contaminant data from existing databases
Phase 1 to be complete Fall 2018
US EPA committed to extend project to Phase 2
  Extend study area to Portsmouth/Huntington?
  Evaluate data compiled in Phase 1 to characterize risk to utilities

## Slide 12: Contaminant Source Inventory Pilot Project

## Slide 13: Phase II Objectives
Evaluate source water protection and emergency response priorities
Move farther upstream to Portsmouth, OH
  Make contact with upstream utilities
  Collect & integrate data
  Train new users
Update data (esp. Tier II data in spring 2019)

## Slide 14: Phase II Tasks
Data integration assessment workshop – discuss priorities, data gaps, next steps
Identify priority source water risks
Extend data integration & user participation upstream
Update existing datasets for existing Extended Zone of Critical Concern
Draft & final report
Final workshop & training
Timeline: August 2018 – July 2019

## Slide 15: Results Overview
INTAKES
EXTENDED ZCC------------
157 WaterSuite Sites
Plus railways, bridges &
facilities in the Zone of High Concern
Notes: Sites labelled in WaterSuite as “Low” priority for now
Site Count does not include bridges, railways or sites in Zone of High Concern – only Sites with IDs
River Mile 463 is closest to intakes, 437 is top of Zone of Critical Concern, 401 is top of Extended Zone of Critical Concern
Railway – switch to rail crossing count?
Road Crossings – are all bridges/crossings of concern?

## Slide 16: Questions?