## Slide 1: Ohio EPA Division of Surface Water Update
ORSANCO February 2013
George Elmaraghy, Chief, P.E.

## Slide 2: Biosolids
Revised program rules effective 7/1/2011
Starting July 2013, beneficial users have to evaluate phosphorus loadings as well as nitrogen loadings for beneficial use
Limits on phosphorus application based on phosphorus soil tests for beneficial use site
Ohio EPA creating tool to assist with rate calculations

## Slide 4: Biosolids Cont.
Starting July 2015, any treatment plant who beneficially uses biosolids must screen out manufactured inerts from influent sewage and septage or sewage sludge
May be accomplished through fine screening (5/8” max aperture, but the finer the better) or other means approved by Director

## Slide 5: Salt Storage
Storm water runoff from exposed salt piles, concentrated brine, can contaminate ground water drinking water supplies and adversely impact fish & other aquatic life in surface waters
  This is an industrial wastewater
Salt piles of any size, managed outdoors for >7 days need PTI from DSW for brine collection system
No unpermitted discharges to surface or ground waters
For more information see: OWRC’s Recommendations for Salt Storage – Guidance for Protecting Ohio’s Water Resources available at http://www.epa.state.oh.us/ddagw/DrinkingandGroundWaters.aspx

## Slide 6: Facility Updates
Revision to Hamilton County & Cincinnati Wet Weather Improvement Program in 2010 allows for consideration of money-saving alternative plan for overflows in Lower Mill Creek portion of service area.
US EPA now seeking comments on plan through February 10, 2013 http://www.epa.gov/region5/water/lowermillcreek/

## Slide 7: Facility Updates Cont.
Peter Cremer NA South Terminal 1IG00003*ID
  Dec 2012 Agency copied on citizen Notice of Intent to Sue
  Review of facility compliance
    Failure to submit sampling data resolved in 2007
    Since Sept 2010, total of 9 violations of oil & grease and pH limits
  District prepared Compliance and Enforcement Plan

## Slide 8: Facility Updates Cont.
D&L Energy and Hardrock Excavating, Youngstown
  Employees caught dumping oilfield waste into storm sewer tributary to Mahoning River watershed
  Clean up continues, civil & criminal investigations ongoing
  State actions include:
    D&L will cease all injection well operations and temporary storage operations
    Revocation of D&L’s 6 current injection well permits, denial of 3 pending new permits
    Revocation of Hardrock Excavating’s brine haulers permit

## Slide 9: Contact
Email: george.elmaraghy@epa.ohio.gov
Phone: 614-644-2001
DSW Website: www.epa.ohio.gov/dsw