## Slide 2: Committee Calls/Agenda
November 28, 2012 Call
Jan 23, 2013 Call
Agenda’s
  Protocol for developing permit limits for criteria that apply at drinking water intakes
  Coordination of ORSANCO’s variance process with states’
  Mercury discharges

## Slide 3: Permit Limit Development for Criteria that Apply at Drinking Water Intakes
TDS (500 mg/L) and Ammonia (1 mg/L) are to protect public water supplies.
Criteria apply drinking water intakes
First time ORSANCO criteria specified to apply at intake.
Implementation procedure necessary for development of permit limits

## Slide 4: Goal: calculate a pollutant loading from a point discharge that will not exceed criteria at down-river intakes.
  mixing/dilution between discharge and downstream intake?
  What is the background concentration?
  Interactive (interstate) discharges present?
  Decay losses of the pollutant occur instream?
  Safety factors?

## Slide 5: Subcommittee Discussion/Proposal …
Obtain instream data at all DW intakes for TDS and ammonia.
Determine whether there are potential problems at intakes.
If there are no problems at the intake, states reissue permits for Existing Discharges w/o load allocation for TDS and ammonia.
If there Are Problems, or for New Discharges, a procedure that can be applied on an interstate basis is still needed.

## Slide 6: Recommendation
Existing Discharges:
  ORSANCO staff compile existing TDS and ammonia data for all DW intakes.
  Determine what additional data is necessary and develop an approach to collect additional missing data.
  If no ‘reasonable potential’ – don’t develop permit limits
New Sources
  Committee continue to work on developing a recommended modeling approach

## Slide 7: Coordinating Variance Processes
ORSANCO has draft Variance Application & review Process.
IN & OH both have Mercury Variance Processes approved by USEPA Region 5.
Permits are generally drafted in a 6 month or shorter timeframe – state specific submittal requirements
ORSANCO’s timeframe has been estimated to require 270 days and ORSANCO submittal requirements

## Slide 8
Need to determine how process can be integrated with existing state variance procedures
  Similar timelines and application submittal information
Recommendation
Asked ORSANCO staff to identify similarities and differences between states’ and ORSANCO’s procedures.
  Address at next committee meeting

## Slide 9: Mercury Discharges
Staff compiled listing of Ohio River mercury discharges (handout).
Appears that there may be multiple discharges in multiple states requesting variance from ORSANCO.
Note: There are multiple issues/problems with the ICIS data presented in the spreadsheet.

## Slide 10: Spreadsheet Observations
Handout with ICIS discharge data.
570 Hg discharges in ICIS basin-wide.
56 Ohio River discharges of mercury indicating exceedances of the 12 ng/L criterion.
Hg discharges in all states except PA.
There are some problems with the data
  Sampling location not end-of-pipe
  Incorrect data entered.