## Slide 1: Spills/Incident Management Monitoring, Mapping and Contingency Planning
Jerry Schulte, Manager
Source Water Protection and Emergency Response
for
ORSANCO and UMBRA Joint Meeting
Technical/Water Quality Session
June 5, 2013

## Slide 2: Ohio River
32 Public Drinking Water Supplies
>5 million people

## Slide 3: ORSANCO Source Water Protection Program Integration
WATER QUALITY
MONITORING
INTER-AGENCY
COMMUNICATION
EMERGENCY
RESPONSE
OSWP

## Slide 4: ORSANCO Monitoring Programs
Metals (Dissolved/Total Recoverable)
Nutrients (Nutrient Criteria Development)
Bacteria (TMDL)
Algae (Recreation and Drinking Water Protection)
Biota (fish, bugs, mussels, fish tissue)
Pesticides (Atrazine)
Volatile Organics (Organics Detection System)

## Slide 5: ORSANCO Communication Programs
Tremendous Inter-agency communication due to committee structure
6 mainstem state environmental quality agencies
  State EPAs, health, emergency response, fish management, etc.
3 USEPA regions
USFWS, USGS, USACE, USCG

## Slide 6: ORSANCO Emergency Response Programs
Spill communication system
  Supported by ORSANCO staff
Receive NRC Spill Reports for all counties
along Ohio River and major tributaries 24/7
Communicate necessary ones to utilities
Support utilities needs during spill events
Time of travel calculations
Estimates of in-stream concentrations
Sample collection and analysis

## Slide 7: ORSANCO Source Water Protection Program Integration
WATER QUALITY
MONITORING
INTER-AGENCY
COMMUNICATION
EMERGENCY
RESPONSE
OSWP

## Slide 8: Organics Detection System
Established 1978 after Carbon Tetrachloride released into the Kanawha River contaminated water supply systems in Huntington, Portsmouth, Cincinnati.
Initial assistance from utilities, ORSANCO and U.S.EPA to establish seven monitoring stations.
By 1985 13 ODS stations were operational
Presently 16 stations spanning over 1000 miles of navigable waters from Pittsburgh to Paducah

## Slide 10: ODS Analytical Equipment
GC/Mass Spec

## Slide 11: ODS Analytical Equipment
INFICON CMS 500
Gas Chromatograph with argon ionization detector and
continuous flow purge cell

## Slide 12: ODS Analytical Equipment

## Slide 13: ODS - System Operation
Collect and analyze four samples of untreated river water every 24 hours (blank, ccv, raw)
Detections exceeding 2ug/L prompt ORSANCO notification by operator
The detection is verified by operator and ORSANCO ODS staff
Notifications to drinking water utilities, NRC and state emergency response agencies

## Slide 14: Compounds Identified by the ODS
Styrene Bromodichloromethane
Bromoform Carbon Tetrachloride
Chloroform Dibromochloromethane
1,1 Dichloroethane 1,2 Dichloroethane
1,1 Dichloroethylene 1,2 Dichloropropane
Methylene Chloride Tetrachloroethylene
1,1,1 Trichloroethane Trichloroethylene
Trichlorofluoromethane Benzene
Chlorobenzene Ethylbenzene
1,2 Dichlorobenzene 1,3 Dichlorobenzene
1,4 Dichlorobenzene Toluene

## Slide 15: ODS Spill Detection
THO 160 ug/l, MCL FOR TOLUENE 1,000 ug/l
Organics Detection System – Why?

## Slide 16: Organics Detection System – Why?
THO 1000 ug/l, MCL FOR PERC 5 ug/l

## Slide 19: Emergency Response Directory
TABLE OF CONTENTS
PROCEDURES 1
SPILL NOTIFICATION 3
STATE AGENCIES
FEDERAL AGENCIES
NATIONAL RESPONSE CENTER 5
U.S. EPA 5
U.S. COAST GUARD 6
U.S. ARMY CORPS OF ENGINEERS
EMERGENCY RESPONSE COORDINATORS WORKGROUP 8
ODS QUICK REFERENCE 10
OHIO RIVER DRINKING WATER INTAKE CONTACT INFORMATION 11
TRIBUTARY DRINKING WATER INTAKE CONTACT INFORMATION 17
RIVER MILE POINTS OF COUNTIES BORDERING THE OHIO RIVER 22
OHIO RIVER MAIN STEM NAVIGATION SYSTEM 18
OHIO RIVER LOCKS AND DAMS 19
ALLEGHENY, MONONGAHELA, AND KANAWHA RIVER LOCKS AND DAM 21
TRIBUTARIES TO THE OHIO RIVER 23
INDUSTRIAL FACILITIES 29
SOURCES OF CHEMICAL AND ENVIRONMENTAL DATA 30
RIVER HYDROLOGIC INFORMATION 30
RIVER STAGE INFORMATION 30
CHEMTREC 30
CONVERSION FACTORS 31
OHIO RIVER MILE POINTS 32
OHIO RIVER COUNTIES, DRINKING WATER INTAKES AND LOCKS & DAMS (0.0-490.0)
OHIO RIVER COUNTIES, DRINKING WATER INTAKES AND LOCKS & DAMS (460.0-981.3)

## Slide 20: Spill Coordination Workgroups
Upper Ohio River Focus Group
  Emergency Response, water quality, SID, CID
    Federal, state
Cincinnati Sub-area Focus Group
  Incident Action Plan and Tactical Response Plan
    Federal, state, local, industries
Great Rivers Spills Communication Group
  Ohio, Mississippi and Tennessee Rivers
    Federal, state
Huntington Area Tri-State Spills Communication Group
    Federal, state, local, industries