## Slide 1
Paul Novak, Ohio EPA

## Slide 2: Committee Meetings/Agenda
March 27 -- call of full committee
April 10 -- meeting with IDEM, OEPA, ORSANCO on streamlined variance procedure.
April 16 -- call of workgroup on permitting TDS & Ammonia for protection of downstream intakes.
May 15 -- call of full committee
  Streamlined variance procedure.
  Development of permit limits for criteria that apply at downstream intakes.
  Notification to discharges of potential need for variance and list of mercury discharges.
  Implementation language for human health temperature criterion.

## Slide 3: Streamlined, Coordinated Mercury Variance Procedure
IDEM & OEPA have streamlined mercury variance processes approved by Region 5.
Conceptually similar to a general NPDES permit vs. an individually-issued permit.
Objective is to ease the burden on permittees and ORSANCO for lower-level discharges of mercury.

## Slide 4: Proposed Process
Require low-level mercury monitoring to determine reasonable potential.
If Hg discharge < 30 ng/L as monthly average (criterion is 12 ng/L) and an acceptable pollutant minimization plan has been submitted, then a streamlined variance will be granted.
All other conditions & procedures remain as in the currently adopted procedure.

## Slide 5: Streamlined Variance Process
Applicable to discharges < 30 ng/L mo. Avg.
Current variance requests from Ironton, OH WWTP and Koppers Inc.
Based on more recent data:
  Ironton would qualify for streamlined variance.
  Koppers appears to be a borderline case in terms of qualifying for streamlined variance.

## Slide 6: Permitting of Criteria that Apply at Downstream Intakes
TDS (500 mg/L) and Ammonia (1 mg/L) criteria are to protect public water supplies.
First time ORSANCO criteria specified to apply at downstream intake.
New permitting application for states.
Implementation procedure necessary.

## Slide 7: Issues
Need to calculate a pollutant load from a point discharge that will not exceed a downstream concentration at water intake.
What instream mixing/dilution occurs at the downstream intake?
What is the background concentration?
What other (interstate) discharges contribute to total loading?
What losses of the pollutant occur instream?
Can a uniform procedure fit within the states permitting procedures?
Safety factor/reserve necessary?

## Slide 8: Subcommittee Proposal
Staff compiles list of discharges & intakes.
Obtain instream data at all DW intakes for TDS and ammonia.
Determine whether there are potential problems at intakes.
If there are No Problems at the intake, states reissue permits for Existing Discharges.
If there Are Problems, or for New Discharges, a procedure that can be applied on an interstate basis is still needed.

## Slide 9: Recommendation
Compile all existing TDS and Ammonia data for all DW intakes.
Continue individual state permitting practices for existing discharges upstream of water intakes having no issues with the ammonia or TDS criteria.
Develop an approach for new discharges or where TDS or ammonia problems exist at the downstream intake.

## Slide 10: Mercury Discharges
Staff compiled listing of Ohio River mercury discharges (handout).
Appears that there may be multiple discharges in multiple states requesting variance from ORSANCO.
Note: There are multiple issues/problems with the ICIS data presented in the spreadsheet.
The committee was provided the list for possible use in contacting affected discharges.

## Slide 11: Human Health Temperature Criterion
TEC directed NPDES Subcommittee work with PIAC (Power Industry Advisory Committee) on implementation language for new 110 deg F criterion.
Standards state that the criterion is applicable “at any location where public access is possible.”
PIAC concerned about implementation in permits.

## Slide 12: Temp Criterion (cont.)
Paul Novak, Rob Reash, Jason Heath met by conference call.
PIAC offered following language:
  Public access is determined by consideration of site-specific factors such as: 1) the availability of public property on land proximal to the thermal mixing zone; 2) the likelihood of temporary full-body immersion in the thermal mixing zone; and 3) deliberate efforts made by a permittee to restrict and/or discourage the legal access of persons inside the thermal mixing zone. The temperature criterion shall apply where both the accessibility and potential for temporary full-body immersion is reasonable.

## Slide 13: Temp Criterion (cont.)
NPDES Subcommittee did not feel that the proposed language was clarifying in terms of incorporating criterion into permits.
NPDES Subcommittee also did not believe that the criterion would be implemented as an end-of-pipe effluent limit.

## Slide 14: TEC Consideration
Comments/recommendations on:
  Streamlined variance procedure
  Implementation guidance for:
    TDS & ammonia criteria
    Human health temperature criterion.