## Slide 2: Water Quality Concerns
Dissolved Oxygen
Dams are good aerators
Hydropower facilities divert water from dams
Critical conditions exist under low flow and high temperature = low dissolved oxygen.
Have historically had some dissolved oxygen impairments in lower river.
  Not at hydropower facilities!

## Slide 3: Hydropower Highlights
20 Locks & Dams on Ohio River
7 Operating Hydropower Plants
  Receive Near Real Time DO Data for all operating facilities June thru October.
  Covers critical conditions.
2 Applications for New Facilities
3 Facilities Under Construction

## Slide 5: ORSANCO Policy on DO Monitoring Requirements For Ohio River Hydropower Facilities
1987, the Federal Energy Regulatory Commission (FERC) issued an environmental impact study of hydropower development on the lower Allegheny and upper Ohio Rivers.
Study findings that some dams were “good aerators” and some were not. For the “good aerator” dams, it was proposed that FERC licenses require maintenance of a 6.5 mg/L DO level while a 5.0 mg/L level (the water quality standard for the main stem states) was recommended for the “poor aerators”.

## Slide 6: ORSANCO 1988 Policy on DO Monitoring
Operating licenses should contain provisions to assure that:
    1) Adequate studies are conducted prior to facility operation to define aeration characteristics of the dam.
    2) Continuous monitoring of dissolved oxygen is provided at representative locations above and below the facility as appropriate, with data available to ORSANCO through remote interrogations.
    3) Provisions are made in the facility design and operation to allow maintenance of the full aeration potential of the dam during critical conditions.

## Slide 8: Hydropower Highlights, Cont
Active Hydros
  New Martinsville
  Belleville
  Racine
  Greenup
  Markland
  Ohio Falls
  Cannelton