## Slide 1: Ohio EPA Update
ORSANCO Meeting
George Elmaraghy, Chief, P.E.
June 2013

## Slide 2: WQS Rulemaking
Comment period on draft WQS rules package extended to June 3
Includes ORSANCO 2012 PCS updates

## Slide 3: Nutrients Rulemaking
Comment period on initial step of rule process (Early Stakeholder Outreach) closed May 22
Initial input generally supportive of Ohio approach
Working on draft rules this summer

## Slide 4: Sulfate Limits in Coal NPDES
USEPA 2011 Guidance – Concern states not conducting reasonable potential reviews in permit development
Ohio only has narrative criteria
Using “best science” to translate narrative criteria into numeric to determine reasonable potential
Similar to how we currently handle Phosphorus (1999 Associations document)
Recent Supreme Court ruling backs Agency – will not hear Blackstone v. EPA

## Slide 5: Facility Updates
Belmont County
  EORWA WWTP – Draft DFFOs include – proper O&M of the collection systems, certified operators and proper reporting of system overflows. All five satellite communities should sign orders soon.

## Slide 6
Jefferson County
  Steubenville WWTP – switched to peracetic acid (PAA) for disinfection
  Resulted in cost savings that other communities now evaluating.
    Caution use at facilities on low flow streams due to toxicity and mixing zone area of avoidance concerns.

## Slide 7
Hamilton County
  Kinder Morgan – salt pile facility on Ohio River. Renewing NPDES permit. Will be evaluating storm water/industrial waste discharge for toxicity.

## Slide 8: Contact Information
George Elmaraghy, Chief, P.E.
Ohio EPA, Division of Surface Water
george.elmaraghy@epa.ohio.gov
614-644-2001