## Slide 1: Mercury Project
214th Technical Committee Meeting
Agenda Item 5
Jason Heath jheath@orsanco.org
Steve Braun sbraun@orsanco.org

## Slide 2: Use of icis data for point source load calculations
ICIS – Integrated Compliance Information System
  Tracks permit compliance and enforcement status of regulated NPDES facilities
    Permit Facility data
    Inspection Info
    Limits
    DMR data
    Much more
  An online, query-able, exportable NPDES database
  -can create custom queries based on date rage, pollutant, state, etc.
  ORSANCO has access to all ORB States to view the data
  Data is updated nightly, entered by the states

## Slide 3: What we have done so far
All data for all ORB States has been downloaded
Date Range Nov. 1, 2015 – Oct. 31, 2016
  Matches our tributary Hg sampling events
Have mercury concentration and/or flow for every outfall in each state where data is available
Searched for any pollutant containing “mercury”
Can calculate Hg load for each pipe with Hg concentration and flow
  If no Hg concentration but has flow, we can assign a Hg value to it

## Slide 4: What we have done so far (continued)
Much more additional data including
  NPDES ID
  Name
  Fac. Coordinates
  Permitted feature (Outfall ID)
  Outfall coordinates
  SIC
  HUC
  Receiving stream
  Monitoring period
  Much more

## Slide 5: Some Issues discovered
Feb. 2016 was a leap year (facilities so far have calculated load based on 28 days)
Not sure if facilities are subtracting out the Hg intake
If flow and Hg ends on different days, the load was not calculated on the DMR website, not common
If flow was monthly and Hg was quarterly, the DMR load was based on the last month flow. We calculated it based on the average quarterly flow to match the Hg quarterly period.
Internal and external outfalls included in search

## Slide 7: What's Next
Will finish Mercury Calculations for all States
Compare the loading from ICIS to each major watershed sampled by ORSANCO using GIS
Compare it to the total loading project
For facilities with no Hg data, we can apply a mercury value to each outfall based on SIC