## Slide 1: Source Water Protection & Emergency Response Update
Informational Item
Technical Committee Meeting
June 6-7, 2017

## Slide 2: Source Water Programs Update
Source Water Protection
Emergency Response
Organics Detection System Operation

## Slide 3: Source Water Protection Meetings
GCWW/NKWD Source Water Protection Plan
  Continue to host joint meetings
Corona – Water Suite Webinar
  Software developed in wake of 2014 MCHM spill
  Potential Contaminant Source Inventory
  Compiles data from existing databases and uses satellite imagery
  Potential Ohio River pilot project (US EPA)

## Slide 4: Source Water Protection Meetings
ODS Next Gen
  Kickoff dialogue looking at future ODS options
WV American Water
  Site visit to Ashland Water to demo ODS equipment
  Evaluate potential application at Kanawha Valley
WV Annual SWP Meeting
  GIS applications for source water protection
  Above Ground Storage Tank update

## Slide 5: Emergency Response Meetings
Focus groups established to improve coordination of emergency response activities.
  Marietta and Cincinnati Focus groups met in April
    Cincinnati Sub-Area Spill Response Plan update
    Catlettsburg Refinery benzene release
    Racine Barge Incident
  Great Rivers Coordination Group
    Developed group charter
    Working on Incident Action Plan (IAP)
Region 3 Regional Response Team meeting
  Racine Barge Incident
  Potomac Mystery Sheen

## Slide 6
Organics Detection System Sites
Notes: Maysville is not on this map

## Slide 7: Organics Detection System
ODS sites run 4 samples per day on average.
Most sites collect and analyze the samples on the same day.
Staff working with ODS operators to improve timely sample collection, analysis, and data review.

## Slide 8
Chart: 
| Hays Mine | Pittsburgh | Westview | Midland | Weirton | Wheeling | Parkersburgh | St. Albans | Huntington | Ashland | Portsmouth | Maysville | Cincinnati | Louisville | Evansville | Paducah
2017 | 120 | 119 | 70 | 120 | 99 | 120 | 105 | 32 | 110 | 108 | 120 | 120 | 120 | 113 | 120 | 120
2016 | 121 | 51 | 109 | 121 | 121 | 121 | 99 | 80 | 121 | 112 | 120 | 119 | 121 | 121 | 121 | 121

## Slide 9: Racine Barge Incident Summary
Tow with 3 barges struck Racine Dam
  3 million gallons of natural gas condensate onboard
High flow conditions hampered recovery
No materials released from barges or tow
Potential to be largest spill since Ashland oil spill in 1988.
  Significant concern for water utilities

## Slide 10: Tow and Barges Pinned Against Dam Face

## Slide 11: Tow Stuck in Dam Gate

## Slide 12: Water Utility Notifications
Upon initial NRC report, ORSANCO phoned all Ohio River surface water utilities from Huntington, WV to Louisville, KY
State agencies actively worked with utilities to ensure readiness
GCWW obtained sample material to test analytical method
Email to spills distribution list
  Updates provided throughout event

## Slide 13: Questions?