## Slide 1: OHIO EPA UPDATE
ORSANCO, October 20, 2009
George Elmaraghy, P.E., Chief

## Slide 2: Division of Surface Water Program Update
<number>
Overview
  Current News
  Wet Weather Update
  Ohio River Basin Facilities Update

## Slide 3: WQS “Small Set”
<number>
Peeled 2 rules out of larger Water Quality Standards/Antidegradation rule packages for separate rulemaking
  Revised recreational use designations & E. coli criteria in OAC 3745-1-07
Deadline for comments was September 10, 2009

## Slide 4: Recreational Use Changes OAC 3745-1-07
<number>
Season extended from May 1st to Oct 31st
Three classes of primary contact recreation:
  Class A support frequent PCR activities (lakes with improved access points & popular paddling streams publicized by ODNR).
  Class B support occasional PCR activities (includes all surface waters unless otherwise designated).
  Class C support infrequent PCR (drainage area <3.1 sq mile & historically channelized watercourse unless otherwise designated and waters designated Class C in OAC 3745-1-08 to 30).

## Slide 5: Recreational Use Changes OAC 3745-1-07
Revised numerical criteria – removed fecal coliform
Recreation Use | E. coli (colony counts/100 ml) | 
 | Seasonal Geometric Mean | Single Sample Max
Bathing Water | 126 | 235
Class A PCR | 126 | 298
Class B PCR | 161 | 523
Class C PCR | 206 | 940
SCR | 1030 | 1030
<number>

## Slide 6: Water Quality Standards
<number>
Updating WQS to include ORSANCO standards for Ohio River
Will include ORSANCO’s most recent standards in update if they are finalized in time

## Slide 7: Ohio CSO Communities Approved LTCPs
Community | Lead
Milford | Ohio EPA
Pomeroy | Ohio EPA
Middleport | Ohio EPA
Ironton | U.S. EPA
Toronto | U.S. EPA
Mingo Junction | Ohio EPA
Cinti MSD (conditionally approved) | U.S. EPA
<number>

## Slide 9: High Profile Projects
<number>
Permits approved, Construction yet to begin.
  New Steel International (MMK), Scioto Co. (new steel plant)
  AMP Ohio, Meigs Co. (new coal fired power plant)
  Ohio River Clean Fuels/Baard Energy, Columbiana Co. (coal to liquid fuel plant)

## Slide 10: Facility Updates – Jefferson Co.
<number>
WPS South, North & Yorkville – purchased by Severstal. All 3 plants idle.

## Slide 11: Facility Updates – Monroe Co.
<number>
ORMET – Draft DFFOs sent in September 2009 to address numerous CWA violations.
  Parameters being violated = Acute Toxicity & Copper

## Slide 12: Facility Updates – Belmont Co.
<number>
Tri-State Asphalt – Closure of site has been approved, ground water monitoring and site maintenance until at least April 2013
WPS Martins Ferry – purchased by Severstal. The plant is currently idle.

## Slide 13: Facility Updates – Gallia Co.
<number>
OVEC Kyger Creek – construction continues on scrubber system WWTP, FGD landfill and FGD temporary storage area.
  Scrubber set to be online December 2009 – however date indefinite since discovery of design flaw in scrubber media system.
Gallipolis – ORSANCO sampling on Chickamauga Creek showed elevated bacteria levels. Ohio EPA follow up investigation indicates source could be unsewered area or wet weather SSOs. Additional investigation will be conducted.

## Slide 14: Facility Updates – Lawrence
<number>
Village of South Point – WWTP returned to compliance with copper NPDES limit; still investigating possible sources
Union-Rome – construction of 2.2 MGD MBR WWTP expected by January 2010 (replaces trickling filter plant)

## Slide 15: Contact Information
<number>
Email: george.elmaraghy@epa.state.oh.us
Phone: 614-644-2001
Fax: 614-644-2745
DSW Website: http://www.epa.ohio.gov/dsw/