## Slide 1
October 20-21,2009
Agenda Item 6b.

## Slide 2: Noncompliance Dischargers
Section 123.45 of the FWPCA Regulations requires the status of noncompliance for NPDES permit compliance schedules and effluent limitations to be submitted. This information is then placed into a Quarterly Noncompliance Report (QNCR).
The data in this presentation is compiled from the Quarterly Noncompliance Reports (QNCR). They are then cross referenced using the Permit Compliance System (PCS) and Enforcement & Compliance History Online (ECHO). The PCS Database contains data for all six basin states. Additional data for IL, IN, and PA was used from the ECHO Database.
Due to lag time, this presentation contains QNCR data from July, 2008-June, 2009.

## Slide 3
Pennsylvania |  |  |  | 
Discharger | Type of Violation | Months in Violation | Permit Discharge Limitation | Range of Permit Violation
Neville Chemical Corp. | Reporting Violation | 9 |  | 
Shenango Inc.-Neville Coke & Iron | Effluent-Phenolics, Total Recoverable | 8 | 1.6 mg/L | 1.7-56.2 mg/L
 | Effluent-Nitrogen, Ammonia Total (as N) | 7 | 97 mg/L | 108-142 mg/L
 | Effluent-Oil & Grease | 4 | 12 mg/L | 14.4-32 mg/L
 | Effluent-Total Suspended Solids | 1 | 230 mg/L | 268 mg/L
Moon Township Muncipal Authority | Reporting Violation | 12 |  | 
Rocheser Area JSA WWTP | Reporting Violation | 12 |  | 
Horsehead Corp. | Effluent-Selenium, Total (as Se) | 5 | .03 mg/L | .032-.091 mg/L
 | Effluent-Total Suspended Solids | 1 | 60 mg/L | 200 mg/L
 | Effluent-Zinc, Total (as Zn) | 1 | .6 mg/L | 1.56 mg/L
 | Effluent-Lead, Total Recoverable | 4 | .1 mg/L | .109-.16 mg/L
Eaton Electrical | Reporting Violation | 12 |  | 
First Energy-Bruce Masfield Plant | Reporting Violation | 3 |  | 

## Slide 4
West Virginia |  |  |  | 
Discharger | Type of Violation | Months in Violation | Permit Discharge Limitation | Range of Permit Violation
Arcelormittal Weirton, Inc. | Effulent-Cyanide, Weak Acid | 11 | .0084 mg/L | .009-.046 mg/L
City of Weirton | Incomplete/Deficient Report | 4 |  | 
Mountain State Carbon | Effulent-Cyanide, Total | 4 | 34.9 lbs/day | 35.1-78.6 lbs/day
 | Effulent-Benzo (A) Pyrene | 2 | .129 lbs/day | .48 lbs/day
City of Wheeling | Incomplete/Deficient Report | 7 |  | 
City of Moundsville | Incomplete/Deficient Report | 3 |  | 
Ohio Power Co. | Incomplete/Deficient Report | 3 |  | 
Applachian Power Co. | Compliance Schedule Violation | 3 |  | 

## Slide 5
Ohio |  |  |  | 
Discharger | Type of Violation | Months in Violation | Permit Discharge Limitation | Range of Permit Violation
City of Steubenville | Effluent-Copper, Total Recoverable | 4 | 29 ug/L | 31-42 ug/L
ORMET Primary Aluminum | Effluent-Chlorine, Total Residual | 3 | .038 mg/L | .18-.19 mg/L
 | Effluent-Copper, Total Recoverable | 9 | .016 kg/day | .018-0.076 kg/day
Union Rome Township Sub-Sewer | Effluent-Total Chlorine, TSS, and BOD 5 Day |  | * | *
Dayton Power & Light Co. | Effluent-Chromium, Hexavalent Dissolved | 4 | 31 ug/L | 35.9-79.3 ug/L
 |  |  | * No DMR data listed in PCS Database | 

## Slide 6
Kentucky |  |  |  | 
Discharger | Type of Violation | Months in Violation | Permit Discharge Limitation | Range of Permit Violation
Wurtland STP-Greenup County | Effluent-Nitrogen, Ammonia Tota (as N) | 1 | 30 mg/L | 385.9 mg/L
 | Effluent-Total Residual Chlorine | 2 | .437 mg/L | .46 mg/L
Dupont Wurtland Plant | Effluent-Total Suspended Solids | 5 | 50 mg/L | 31-216 mg/L
Dow Corning-Carrollton | Effluent-Total Suspended Solids | 6 | 235 lbs/day | 356.26-820.74 lbs/day
Roll Coater Inc. | Effluent-Total Suspended Solids | 3 | 30 mg/L | 32-57 mg/L
*DOE/PRS/UDS/PGDP- Discharges to Bayou and Little Bayou Creek |  |  |  | 

## Slide 7
Indiana |  |  |  | 
Discharger | Type of Violation | Months in Violation | Permit Discharge Limitation | Range of Permit Violation
AEP Lawrenceburg Energy Co. | Effluent-Mercury,Total Recoverable | 3 | 11.4 ng/L | 14.3-19.6 ng/L
Madison, WWTP | Effluent-Copper, Total Recoverable | 6 | .02 mg/L | .021-.033ng/L

## Slide 8
Illinois |  |  |  | 
Discharger | Type of Violation | Months in Violation | Permit Discharge Limitation | Range of Permit Violation
Metropolis, STP | Compliance Schedule-Install/Maintain CSO Outfall Signs | 8 |  | 

## Slide 9: Dischargers of Concern
Shenango Inc.-Neville Coke & Iron, PA
  Total Ammonia Nitrogen discharge limit was violated the past three months.
  Total Recoverable Phenolics discharge limit was violated five out of the last six months.
Horsehead Corp., PA
  Selenium discharge limit was violated three out of the last six months.
Arcelormittal Weirton, Inc., WV
  Weak Acid Cyanide discharge limit was violated eleven out of the last twelve months.
ORMET Primary Aluminum, OH
  Total Recoverable Copper discharge limit was violated ten out of the last twelve months.
Dupont Wurtland Plant, KY
  Total Suspended Solids discharge limit was violated five out of the last six months.