## Slide 1
October 8-9,2013
Agenda Item 15

## Slide 2: Noncompliance Dischargers
Section 123.45 of the FWPCA Regulations requires the status of noncompliance for NPDES permit compliance schedules and effluent limitations to be submitted. This information is then placed into a Quarterly Noncompliance Report (QNCR).
The data in this presentation is compiled from the Regions Quarterly Noncompliance Reports (QNCR). They were then cross referenced using EPA’s Integrated Compliance Information System (ICIS). The ICIS Database contains data for all six basin states. Each state was also asked to double check the data in the following tables.
Due to lag time, this presentation contains QNCR data from April 2012-March 2013.

## Slide 3
Pennsylvania |  |  | 
Facility | Type of Violation | Parameter | Months in Violation (based on 12 otherwise noted)
Koppel Steel Corp | Effulent | Oil & Grease | 4
 | Effulent | Solids, Total Suspended | 1
Horsehead Corp | Effulent | Selenium, Total (as Se) | 6
 | Effulent | Manganese, Total (as Mn) | 3
 | Effulent | Solids, Total Suspended | 1
 | Effulent | Zinc | 1
 | Effulent | pH | 1

## Slide 4
West Virginia |  |  | 
Facility | Type of Violation | Parameter | Months in Violation (based on 12 otherwise noted)
ISG Weirton, Inc | Effluent | Cyanide, Weak Acid | 5
 | Effluent | Phenolics, Total Recoverable | 5
 | Effluent | Iron, Total Recoverable | 7
 | Effluent | Benzene | 6
 | Effluent | Bis(2-ethylhexyl) phthalate | 1
 | Effluent | pH | 6
 | Effluent | Fecal Coliform | 5
Mountain State Carbon | Effluent | Coliform, Fecal | 3
 | Effluent | Cyanide, Weak Acid, Dissociable | 1
 | Effluent | Selenium, Total Recoverable | 8
 | Effluent | Aluminum, Total Recoverable | 2
 | Effluent | Chlorine, Total Residual | 2
Koppers Industries Inc | Effluent | Benzo(k)fluoranthene | 1
Wheeling-Nisshin Inc | Effluent | Chromium, hexavalent | 1
City of Follansbee | Effluent | Nitrogen, Ammonia (total as N) | 2

## Slide 5
West Virginia Con’t |  |  | 
Facility | Type of Violation | Parameter | Months in Violation (based on 12 otherwise noted)
RG Steel Wheeling LLC-Beech Bottom Plant | Effluent | Chloride | 1
 | Effluent | Phenolics, Total | 4
 | Effluent | Zinc, Total Recoverable | 5 of 7
City of Wheeling | Effluent | Mercury, Total | 2
 | Effluent | Coliform, Fecal | 4
Ohio Power-Kammer | Effluent | Chlorine, Total Residual | 3
 | Effluent | Iron, Total Recoverable | 3
Ohio Power Co. | Effluent | Cadmium, Total Recoverable | 5
 | Effluent | Toxicity (chronic), Pimephales promelas | 2 of 4 quarters
 | Effluent | Toxicity chronic, Ceriodaphnia dubia | 2 of 4 quarters
PPG Industries Inc | Effluent | Mercury, Total | 4 of 11
 | Effluent | Iron, Total Recoverable | 1 of 11
 | Effluent | .alpha-BHC | 7
 | Effluent | .beta-BHC | 6
 | Effluent | .gamma-BHC | 1 of 11

## Slide 6
West Virginia Con’t |  |  | 
Facility | Type of Violation | Parameter | Months in Violation (based on 12 otherwise noted)
City of New Martinsville | Effluent | Copper, Total Recoverable | 4
Pleasants Power Station-Willow Island | Effluent | Selenium, Total Recoverable | 1
Cytec Industries | Effluent | Mercury, Total | 2
 | Effluent | Chlorine, Total Residual | 9
 | Effluent | Coliform, fecal | 3
 | Effluent | Aluminum, total (as Al) | 1
 | Effluent | Nitrogen, Ammonia as total | 1
 | Effluent | Toluene | 2
E I Dupont DeNemours & Co | Effluent | Chlorine, Total Residual | 1
Century Aluminum of WV, Inc. | Effluent | Chlorine, Total Residual | 12
 | Effluent | Aluminum, Total Recoverable | 1 of 4 quarters
City of Huntington | Effluent | Chlorine, Total Residual | 3
 | Effluent | Nitrogen, as Ammonia | 2
 | Effluent | Phenolics, Total | 1

## Slide 7
Ohio |  |  | 
Facility | Type of Violation | Parameter | Months in Violation (based on 12 otherwise noted)
Eastern Ohio Regional WW Authority | Effluent | Solids, Total Suspended | 1
Eramet Marietta INC | Effluent | Fecal Coliform | 4 of 11
Ohio Power Co. General James M Gavin Plant | Effluent | Copper, Total Recoverable | 1
Gallipolis WPCF | Effluent | Copper, Total Recoverable | 2 of 2 samples
South Point WWTP | Effluent | Copper, Total Recoverable | 2
 | Effluent | Mercury | 2 of 9 samples
Ironton WWTP | Effluent | Solids, Total Suspended | 1
 | Effluent | Chlorine, Total Residual | 1 of 1
 | Effluent | pH | 1
Duke Energy Zimmer | Effluent | Solids, Total Suspended | 1
 | Effluent | BOD, 5-day | 1

## Slide 8
Kentucky |  |  | 
Facility | Type of Violation | Parameter | Months in Violation (based on 12 otherwise noted)
Dupont Wurtland Plant | Effluent | Solids, Total Suspended | 2
Western Reg Water Reclamation Facility | Effluent | E.coli | 3
 | Effluent | Solids, Total Suspended | 2
 | Effluent | BOD, 5-day | 1
 | Effluent | pH | 2
Owensboro East STP | Effluent | E.coli | 2
 | Effluent | Solids, Total Suspended | 1
Kimberly-Clark Corp | Effluent | Dissolved Oxygen | 1

## Slide 9
Indiana |  |  | 
Facility | Type of Violation | Parameter | Months in Violation (based on 12 otherwise noted)
Vectran Corp-Sigeco F.B. Culley Station | Effluent | E.coli | 1 of 7
Newburgh WWTP | Effluent | Copper, Total Recoverable | 11
 | Effluent | Nitrogen, as Ammonia | 1

## Slide 10
Illinois |  |  | 
Facility | Type of Violation | Parameter | Months in Violation (based on 12 otherwise noted)
Metropolis, STP | Effluent | Fecal Coliform | 2 of 11
Cario, STP | Effluent | BOD, 5 Day | 2