## Slide 1: Ohio EPA Update
ORSANCO Meeting
Paul Novak
October 2013

## Slide 2: Rule Making/Policy Issues
Nutrient WQS - Phosphorus
  External Technical Advisory Group being formed
  Group will advise Agency as rulemaking proceeds
Updated Federal Ammonia Aquatic Life Criteria
  Still reviewing, no decision whether to adopt federal criteria
USEPA Wants Phosphorus Limits Less Than 1 mg/L Lake Erie Dischargers
  Detroit Seasonal Limit of 0.65 mg/L

## Slide 3: Facility Updates Jefferson County
Steubenville WWTP – reached agreement in principle on second amended consent order addressing CSOs and LTCP
Cardinal Coal Fired Power Plant – conducting water quality study for site specific criteria for fly ash reservoir discharge to Blockhouse Hollow for thallium & ammonia – have compliance schedule in renewed NPDES

## Slide 4: Facility Updates Belmont County
EORWA WWTP – Wet Weather
  Final DFFOs issued to 5 satellite communities on June 14, 2013
    Proper O&M of collection systems, certified operators & proper reporting of overflows.
  EORWA WWTP Redoing Study on Options to Increase Treatment Plant Capacity
Old Martins Ferry Steel Mill – Plant is Idle
  Current owner submitted No Exposure for industrial storm water
  Portion of storm water sold for oil & gas well drilling

## Slide 5: Facility Updates Gallia County
Gallipolis WWTP
  Expanding WWTP to handle existing sewered & unsewered areas in county around city
  Total upgrade $7-8 million & completed in 2-3 years
  PTI issued with to work begin soon
Ohio Power Gavin/AEP Coal Fired Power Plant –
  Fly ash pond closure PTI Expected by November with closure expected by Nov 2019.
  Agency has PTI for FGD landfill expansion
  NPDES renewal permit draft public notice expected November 2013
    Mercury, Selenium, TDS Issues at FGD Leachate Ponds

## Slide 6: Facility Updates Gallia County Cont.
Rolling Hills Natural Gas Generating Station
  Proposing 15 mile cooling water intake & discharge lines in Ohio R near Kyger Creek for 2 new combined cycle units
  NPDES mod received Sept 2013
Ohio Valley Electric Corp, Kyger Creek Station
  Constructing Additional Ponds to Address FGD landfill mercury limit
  Considering closure of last remaining fly ash impoundment
  NPDES renewal draft public notice expected November 2013

## Slide 7: Facility Updates Meigs County
Pomeroy WWTP
  CSO work ongoing
    Sewer separation & repair status – Phase I complete, Phase II 80%, Phase III 25%.
    WWTP upgrades status – Phase I complete, Phase II 95%, Phase III not started.
Middleport WWTP
  LTCP projects complete.
  Violating NPDES loading limits (not concentration) due to increased wet weather flow. Submitted permit mod to increase limits.

## Slide 8: Facility Updates Meigs County Cont.
Southern Ohio Coal Company AMD Project
  12 mile pipeline and diffuser at Ohio River for closed mine 31 WWTP effluent
  PTI & NPDES draft permits for pipeline and diffuser public noticed October 2013

## Slide 9: Facility Updates Scioto County
Portsmouth WWTP – signed U.S. EPA consent order on Sept 27, 2013.
  Phase I includes construction of 2 storage tanks at in 5-years at cost of $5 million. Precursors to future projects.
New Boston – rebidding LTCP Phase I in Oct 2013, result in Dec loan award.

## Slide 10: Facility Updates Washington County
AMP Ohio Coal Fired Power Plant
  Demolishing power plant
  Material handling operation proposed for site
  Agency approved closure of fly ash landfill & impoundments

## Slide 11: Facility Updates Adams County
DP&L Stuart Station
    FGD Landfill
      Clearing of Vegetation for Landfill Construction Prior to Issuance of 404
      Sediment Impacts Downstream
      On September 25, 2013, U.S. EPA’s final Admin Order & Consent Order filed with Regional Hearing Clerk
    NPDES Permit Appeal (Permit Renewed 1/7/13)
      High Temperature NCCW
      Administrative Hearing Expected Early 2014

## Slide 12: Contact Information
Paul Novak
Ohio EPA, Division of Surface Water
paul.novak@epa.ohio.gov
614-644-2001