## Slide 1
Organics Detection System Sites
Notes: Maysville is not on this map

## Slide 2: Organics Detection System
14*/33 (42%) surface water DW facilities are ODS host site participants; 2 are industrial host sites, and HQ (17 total locations).
  *NKY Water can also analyze VOC’s upon request
  Recently approached by Henderson to become involved with ODS program
3 conventional GC systems installed late 2014
AEP-St. Albans, Portsmouth, Paducah
2 GC/MSD systems installed: Wheeling & HQ
  9 sites are running more than one sample/day
  All sites will be running 4-6 samples per day by end of grant
Pittsburgh to become active ODS site this fall 2015 with process GC capabilities (relocation of Wheeling unit)
  Site inspection performed, lab modifications necessary by PWSA before installation can occur (Fall 2015)
Old instrumentation donated to Thomas More Biological Field Station, NKY Water, UC Cincinnati, IL American (Cairo) and P&T parts to Metropolitan Sewer District
Notes: Ashland unit shipped to vendor; Wheeling unit temporarily deployed to Ashland to keep them up and running. CMS process GC offer pretty much plug and play capabilities, so swap out to a loaner unit is straightforward.

## Slide 3: Organics Detection System
3 Laboratory renovations/relocations for ODS host sites; staff handled instrument relocation, start up and re-calibration
  Additionally Staff installed “old” ODS systems at NKY Water & TMC Biology field station and provided training & start up
ODS renovation started in 2009; components starting to show wear, minor repairs (so far) becoming more frequent, taking advantage of remote diagnosis and troubleshooting capabilities to reduce staff travel time.
  Mother boards
  Auto sampler (alignment, needles, incorrect volume draw, blocked flow path etc.)
  Software issues
Notes: Maintenance contracts only cover GC Mass spectrometer detectors to conserve programmatic costs-all other repairs are done in house.

## Slide 4: Organics Detection System
ODS travel related repairs (non-warranty, non-maintenance agreement)
  30 hours computer related
  26.5 hours diagnose, non repairable (shipped to vendor)
  9 hours Autosampler related
  Anticipate more frequent repair trips as systems age
  Only the GCMSD portion of instrumentation is covered by Maintenance Agreements

## Slide 5
Year | # Raw Water Samples / # ODS sites | % Utilization
2015 (Jan 1. – Aug 30) | 3228/15 sites | 88.6%
2014 (Jan 1 – Dec 31) | 5162/16 sites | 88%
2013 (Jan 1 – Dec 31) | 4771/15 sites | 87%
2012 (Jan 1 – Dec 31) | 4589/15 sites | 88%
2011 (Jan 1 – Dec 31) | 4228/13 sites | 89 %
2010 (Jan 1 – Dec 31) | 3842/13 sites | 81 %
Organics Detection System
Performance Operations

## Slide 6: ODS Operational Summary
Overall, ODS sites were unable to run daily river water samples 11.4% of the time. Leading causes of downtime (>1 day) were related to:
  Staffing issues (6.3%)
  Major laboratory renovations/ relocations (3.4%)
  Instrument Failure (1.7%)

## Slide 7
Chart: 
| Operational | Non-operational Staffing | Non-operational Instrumentation | Non-operational Lab Renovations
 | 88.6 | 6.3 | 1.7 | 3.4
Organics Detection System Operations

## Slide 8: Spills and Emergency Response
Spill Reports: January 1 – August 31
Total Spills Received/Evaluated – 460
Impacting Ohio River – 164
Significant Spill Events
CSX Bakken Crude Kanawha River
Gavin Plant Fly Ash Release
Big Run Creek/Big Sky Oil Spill
Mycrocystis
Greg Youngstrom
Lila Ziolkowski
Eben Hobbins
Stacey Cochran
Travis Luncan
Jason Heath
Ryan Argo
Sam Dinkins
Jeff Thomas
Steve Braun
Rob Tewes