## Slide 1: Report of the NPDES Subcommittee
August 25, 2011
Conference Call

## Slide 2: Participants
Ohio EPA
Pennsylvania DEP
West Virginia DEP
Indiana DEM
Illinois EPA
US EPA- HQ, Region 5

## Slide 3: Call Agenda
Total Dissolved Solids
Variance Procedure
FGD Discharges
Effluent Monitoring for Nutrients

## Slide 4: Total Dissolved Solids
ORSANCO adopted 500 mg/L criterion to apply at drinking water intakes.
States discussed application; this revealed differences among state procedures.
ORSANCO staff directed to compile state procedures for discussion on next call.

## Slide 5: Variance Procedure
Staff presented draft procedure for consideration of variances to mixing zone requirements.
Subcommittee members provided comments.
Subcommittee concern – no guidance on consideration of economic impact/ affordability.

## Slide 6: Variance Application Process

## Slide 7: FGD Discharges
Staff presented inventory of discharges.
Subcommittee members to review list.
Staff proposed sites for monitoring.

## Slide 8: Proposed Sampling Plan for ORSANCO PCS Supplemental Funds Evaluation of Flue Gas Desulfurization and Ash Pond Methyl Mercury Discharges
Objectives:
Characterize methyl mercury discharges from FGD systems
Characterize methyl mercury discharges from fly and bottom ash ponds

## Slide 9: Proposed Sampling Plan for ORSANCO PCS Supplemental Funds Evaluation of Flue Gas Desulfurization and Ash Pond Methyl Mercury Discharges
Four sample events (quarterly) at four coal-fired power generation facilities
Analytical parameters to be monitored:
Three sample locations per facility:
  Upstream baseline or inflow
  FGD wastewater post treatment
  Fly/bottom ash pond final discharge
Filtered total Hg Unfiltered total Hg Filtered methyl Hg Unfiltered methyl Hg Selenium | Bromide Dissolved Organic Carbon Dissolved Sulfate Chlorophyll pH/Specific Conductance

## Slide 10: Proposed Sampling Plan for ORSANCO PCS Supplemental Funds Evaluation of Flue Gas Desulfurization and Ash Pond Methyl Mercury Discharges
Proposed facilities and selection rationale:
Cardinal Operating Co. Cardinal Plant, Mile 76.5
  Ash ponds do not receive FGD Wastewater
Ohio Power/AEP Mitchell Plant, Mile 112.5
  Advanced FGD treatment system meeting Hg criterion without mixing zone
Dayton Power and Light J.M. Stuart Plant, Mile 404.7
  No treatment of FGD wastewater
Indiana-Kentucky Electric Corp. Clifty Creek Plant, Mile 560
  FGD system to be installed 2013

## Slide 11: Effluent Monitoring for Nutrients
Nutrient monitoring requirements have been added to permits for major discharges to the Ohio River as they are renewed.
Subcommittee members are assisting ORSANCO staff in compiling results of effluent monitoring.
Assessment of this data will be valuable in understanding nutrient levels in the Ohio River.

## Slide 12: Questions?