## Slide 1: Water Quality Issues
ORSANCO
TEC Meeting
October 11, 2011

## Slide 2: Total Maximum Daily Load
Highland-Pigeon Creek Watershed
  Impaired for E. coli and TP
TMDL approved by EPA in September
  57 impairments
    Fifty-four for E. coli
    Three for TP
Notes: <number>
We are using the BM of 0.30 mg/l TP. Some of the other sites were above the 0.30 mg/l TP but were not sufficient to trigger an impairment, according to Jody, it’s at least two parameters congruent in one sampling run to trigger an impairment. Other sites above the 0.30 mg/l TP may have just been a single hit and I based total reductions on the highest value of each.

## Slide 3: Water Quality Standards
Revision of chloride criteria
  Currently, 230 mg/L (chronic aquatic life) and 860 mg/L (acute aquatic life)
  Proposing to replace with equations developed by the IDNR
    Hardness and sulfate
    Chronic aquatic life criteria – less stringent
    Acute aquatic life criteria – more stringent
  Draft rule language completed and ready for 2nd notice
Antidegradation Rulemaking
  Preliminarily adopted by the Water Pollution Control Board
Notes: <number>

## Slide 4: Industrial Permits
Indiana-Kentucky Electric Company, Madison, IN.
  Clifty Creek Station discharges to the Ohio River through three outfalls
  Little Crooked Creek through one outfall
  Monitoring requirements for metals
AEP Lawrenceburg Generating, Lawrenceburg, IN.
  Temp, TRC, monitoring for metals
Indiana Gasification, Rockport, IN.
  No discharge from process system
  Discharge from cooling tower blow down, non-process waste streams, and storm water
Notes: <number>

## Slide 5: Municipal Permits
City of Evansville East and West, Evansville, IN.
  Direct discharge to the OH River
  Expanded nutrient monitoring/reporting requirements for TKN, nitrate/nitrite-N, and TP on a quarterly basis
City of Jeffersonville, Jeffersonville, IN.
  Discharges to tributary of OH River
  Conceptual long- term plan to route some of the fully treated effluent to a yet-to-be constructed canal development as a source of hydrology
  Nutrient monitoring/reporting requirements for TKN, nitrate/nitrite-N, and TP on a quarterly basis
Notes: <number>

## Slide 6: Nonpoint Source (205j) Projects
ORSANCO | Lower Wabash R. Nutrients & Continuous Monitoring | Active | $ 98,723 | Assessment
Goal: to determine the amount of nitrogen and phosphorous the Wabash River contributes to the Ohio River.
The project will be renewed for an additional 3 years at $210, 318.00
Notes: <number>

## Slide 7
Indian – Kentuck Watershed (Jefferson, Switzerland, Ripley counties)
  Impaired Biotic Community (IBC)
  E. coli
Notes: <number>

## Slide 8: Compliance Issues
Newburgh WWTP
  Total copper and silver violations
Evansville Westside WWTP
  TSS, E. coli
Sigeco (Southern Indiana Gas and Electric) FB Culley Station
  TSS
  Total iron
Notes: <number>

## Slide 9: 401 Water Quality Certifications
Two proposed dam retro fit projects for hydroelectric structures.
  Newburgh Locks and Dam (Warrick County)
  JT Meyers Locks & Dam (Posey County)
Notes: <number>

## Slide 10
Notes: <number>

## Slide 11: Nutrient Limits in NPDES Permits
EPA review of 23 NPDES permits
  Narrative effluent limits for nutrients
    Discharge shall not cause receiving waters “to contain substances which are in concentrations or combinations that will cause or contribute to the growth of aquatic plants or algae to such a degree to create a nuisance, be unsightly, or otherwise impair the designated uses.”
EPA requiring IDEM to determine numeric nutrient limits based on narrative criteria
  Calculate criterion based regulation for interpreting narrative
  Set limit based on EPA’s CWA section 304(b) criteria
  Set limit on indicator parameter