## Slide 1: OHIO EPA UPDATE ORSANCO TECHNICAL MEETING OCTOBER 2011
George Elmaraghy, P.E., Chief

## Slide 2: OVERVIEW
Current Issues
Facilities Update
<number>

## Slide 3: NUTRIENT CRITERIA UPDATE
Ohio Nutrient Criteria – Current Step In Process
  Information sharing with USEPA Headquarters/Tetra Tech
    Expected outcome – technical support document for Trophic Index Criteria in early 2012
Oct 5-6, 2011 ACWA/EPA Workshop on Biocriteria & Nutrients
  Productive dialogue ~15 states & USEPA headquarters
  Strong state consensus that biocriteria (response to nutrient concentration) should temper decision making on imposing nutrient TMDLs and controls
  Next step – ACWA/EPA agree to flesh out key points:
    3 or 4 critical issues regarding the barriers states want removed so that “bioconfirmation” can be an element of state WQS for nutrients
  USEPA will re-visit current policy memos with the above in mind
  Hopefully revisions made to policy memos pave the way forward
<number>

## Slide 4: NEW ALGAE STRATEGY & ADVISORIES
Updated state strategy on HAB in June 2011
Focus is primarily on publicly owned lakes with beaches and/or boat ramps
Advisory levels
  Algal bloom (HAB identified – avoid scum)
  Public health (microcystin >6 ug/l, swimming not recommended)
  No contact (microcystin >20 ug/l, no swimming)
Advisories posted at www.ohioalgaeinfo.com
<number>

## Slide 5: GLSM ALUM TREATMENT 2011
Results available for June 2011 partial lake alum treatment
  Total P declined at Station L-1 by 56%. This is indicative of what can be expected from a whole lake alum treatment.
  Total P decrease of 20 to 30% by the end of the treatment and study period throughout lake may indicate a direct influence of treatment.
  Appears repeat alum treatments (treating the entire lake to inactivate sediment and strip the water column of P) will be advantageous and necessary to maintain beneficial uses of the lake until watershed loading of P is reduced significantly.
<number>

## Slide 6: 401 GENERAL PERMIT FOR OIL & GAS WELL DRILLING
Developing a General 401 Permit to cover stream and wetland impacts associated with the Marcellus/Utica Shale drilling:
  Drilling Pads
  Access Roads
  Water Supply Lines
  Excludes:
  Gathering lines
  Major transmission lines
<number>

## Slide 7: 401 GENERAL PERMIT FOR OIL & GAS WELL DRILLING
Applicability
  Authorizes impacts up to ½ acre of Category 1 and 2 wetlands;
  Impacts to Category 3 wetlands are excluded;
  Authorizes impacts up to 300 linear feet of stream;
  Impacts to high quality streams are excluded
Time frame
  15 day completeness review
  Issue or deny GP within 30 days of being considered complete
  Applicant must still obtain individual 404 permit after issuance of the GP
<number>

## Slide 8: MARCELLUS SHALE WASTEWATER DISPOSAL
Change in direction on brine wastewater management
  Ohio Department of Natural Resources has authority to regulate oil and gas drilling and associated wastewater disposal – ODNR’s regulations do not provide for brine wastewater disposal at a POTW
    Ohio EPA will not renew City of Warren’s current acceptance of brine wastewater when NPDES permit expires January 31, 2012
    Permit applications for brine wastewater disposal will not be approved
<number>

## Slide 9: ENFORCEMENT UPDATE
Minor NPDES facilities
  Looking at other states, potential streamlined administrative orders with penalty less than $5,000
  Increase in orders with smaller penalties may reduce minor facilities’ significant non-compliance
State | Reviewed minor facility universe | Significant non-compliance rate | Formal enforcement actions | Dollars of penalties assessed
Ohio | 3023 | 23% | 12 | $69,432
North Carolina | 956 | 10% | 219 | $459,090
New Jersey | 614 | 3% | 98 | $2,378,218
<number>
Comparison of 2009 Data for Minor NPDES Permits

## Slide 10: RULEMAKING UPDATE
Including updated ORSANCO Pollution Control Standards in Water Quality Standards triennial review rulemaking – to be proposed this fall (TDS at drinking water intakes, Human Health criteria for chemical contaminants)
Antideg BADCT for nutrients rulemaking to be proposed this fall
Draft Water Quality Trading rules available for interested party comment until Oct. 25, 2011
<number>

## Slide 11: UPDATE ON OHIO RIVER CSO COMMUNITIES
Community | LTCP Status | Comments
Milford | Implementation complete | Completely separated
Pomeroy | Approved | Sewer separation & CSO elimination by May 2029
Mingo Junction | Approved | Sewer separation & CSO elimination by July 2017 *Request for 2 yr extension under negotiation
Cincinnati MSD | Approved | Big project plans due 12/31/2012
Middleport | Approved | Reducing CSO activation to no more than 4/yr by increasing collection & treatment capacity. Implementation by April 2013 – However monitoring study shows need to adjust construction schedule by few months.
Toronto | Approved | Separation by December 2013
Ironton | Approved | Separation by December 2026
EORWA | Approved | Sewer separation & transport to treatment at POTW
Portsmouth | Under review | U.S. EPA working with city on consent agreement
New Boston | Not submitted | U.S. EPA will begin negotiations to get approved LTCP
Steubenville | Not submitted | Modified consent order close to finalization. Flow meters installed at CSOs, city actively pursuing separation in areas.
<number>

## Slide 12: OHIO RIVER DISCHARGERS UPDATE
Ohio Power Gavin/AEP, Gallia County
  Issued PTI on September 7, 2011 for a small pilot wetland to treat water from one of the FGD landfill ponds to remove mercury. This treatment may be used at other facilities in future if it works.
DP&L Stuart, Adams County
  Draft NPDES pending. DP&L submitted proposal to U.S. EPA and Ohio EPA to address thermal issues by changing discharge point directly to Ohio River. U.S. EPA still evaluating proposal.
<number>

## Slide 13: CONTACT INFORMATION
Email: george.elmaraghy@epa.state.oh.us
Phone: 614-644-2001
DSW website: www.epa.ohio.gov/dsw/
<number>