## Slide 1
October 9, 2012
Lila Xepoleas Ziolkowski
Notes: Travis and Jerry are NOT responsible for slide design choice~!!!!
<number>

## Slide 2: PRG 345 Renovation Status Update
Current Project Timeline: through September 30, 2012
  Organics instrumentation has been installed at 7 ODS locations
    5 sites now have GC/MS capabilities
    2 sites using in line process GC
  The ODS has added one new site and activated an existing site
    Ashland Water Works (KY)
    Midland Water Authority (PA)
  Deferred installation of GC/MS system at Wheeling
    Instrumentation relocated to Evansville ODS site
    Install process GC at Wheeling as interim upgrade
  IC unit acquired residing at ORSANCO HQ
  Portsmouth ODS site to pilot test Hapsite GC/MS unit
Project costs through June 30, 2012: ~$2.5M (out of $4.4M)
Notes: West View, Dupont, Hays Mine, Evansville, Louisville-GC/MS
Ashland (Mar 2012), Midland (June 2012) Both these systems are using the CMS5000 process GC’s and are actively collecting data.
<number>

## Slide 3: Status Update (con’t)
Remaining Installations:
  Conventional GC/MS at remaining sites
    Huntington, Cincinnati, Pittsburgh, Weirton, (Wheeling)
  GC only systems
    St. Albans, Paducah
  Process/Hybrid Volatiles Technology
    Portsmouth, Wheeling
Improve Field Service Capabilities
  System Redundancy
  Minimize site downtime from Instrumentation faults and failures
  Maintain appropriate inventory of parts, tools, and consumables
  Maintenance and upgrade of ODS network as necessary
Data Management
  Data review, report generation
  Maintain interactive website
Education & Training
  ORSANCO staff, ODS Operators, General Public

## Slide 4
Water Utility
Using existing instrumentation
CMS 5000
Upgraded ODS Schematic
Ion Chromatograph
GC/MS upgrade

## Slide 5
Water Utility
ODS Station
ODS Communications Network
Bi-directional network connection
ORSANCO HQ
Notes: <number>

## Slide 6: Prototype of ODS Interactive Website

## Slide 7
Questions/comments
QUESTIONS& COMMENTS